Evidence-Based, High Compliance Procedure

Stethoscope Hygiene Between Patient Encounters:

The Missing Element in a Comprehensive Bundle for Infection Control

Cynthia Cadwell, MSN, RN, CNS, ANP, CPHQ1, Kathleen Vollman, MSN, RN, CCNS, FCCM, FCNS2, Wendy Simpson, MSN, RN, CCRN3, Naomi Ragsdale, BSN, RN3

1Certified Professional in Healthcare Quality, Nurse Practitioner with HPH-MG, Honolulu, HI, USA

2Clinical Nurse Specialist & President, World Federation of Critical Care Nurses, Northville, MI, USA

3Infection Control Nurse, MEMPHIS VA Medical Center, Memphis, TN, USA

Authors’ Note: Incorporating Stethoscope Hygiene into P&Ps

Over the past decade, mounting evidence has confirmed the stethoscope has been undermining our infection control protocols. In 2022, the guidelines for patient populations at high risk of mortality from hospital-acquired infection (AORN) recognized the stethoscope as a mechanism for pathogen transmission among patients and health care workers, recommending stethoscope hygiene “before use with each patient” as a new standard of care. 1

This has also been recognized by the CDC, which has proposed elevated guidance for stethoscope hygiene in their draft 2024 Guideline to Prevent Transmission of Pathogens in Healthcare.

In these new guidelines, the stethoscope diaphragm is now recognized as a vector of “transmission via touch.” This new classification comes with the appropriate recommendation that hygiene, similar to hands, is practiced between every patient encounter.

The purpose of this policy & procedure (P&P) template is to introduce an evidence-based, high compliance solution for stethoscope hygiene. The goal is to provide a comprehensive program to ensure hygiene between each patient encounter is achievable in a workflow compatible, cost-effective, and sustainable way that aligns with new CDC guidelines.

This comprehensive, evidence-based template is provided for inclusion into your health system and facility’s Policies & Procedures Manual.

## 1.0 Scientific Rationale for Stethoscope Hygiene

1.1 Background

The stethoscope is often referred to as the “clinician’s third hand” because it hosts the same levels and diversity of pathogens as the fingertips. It is therefore a highly contaminated vector.2 Stethoscope diaphragms have also been found to harbor multidrug-resistant organisms and C. difficile.3, 4

While hand hygiene is the cornerstone of infection control in the fight against healthcare-acquired infections (HAIs), a lack of stethoscope hygiene undermines this effort.5 Recent scientific evidence supports the use of touch-free dispensers, in proximity to the patient, for application of aseptic barriers to the stethoscope diaphragm.3 These barriers have demonstrated no acoustic deterioration, ensuring stethoscope utility for diagnostic auscultation is not impaired, while providing an aseptic surface for patient contact.3, 4.

1.2 Special Aspects of Stethoscope Hygiene

The most recently proposed update (2024) on disinfection guidance from The Centers for Disease Control and Prevention (CDC) directs clinicians to ensure that their stethoscopes are cleaned between every patient encounter or that a single use, disposable, aseptic barrier be applied on the stethoscope diaphragm before auscultating each patient.7 As there is clear evidence that the stethoscope is a dangerous vector3,, data supports the efficacy of stethoscope diaphragm barriers as an effective means of stethoscope hygiene between patients, versus inefficient cleaning methods.3 Touch-free dispenser systems designed for the patient area are ideal for this purpose.

In addition to standardized use of touch-free dispensers of aseptic barriers for each patient contact, disinfection of the stethoscope headset, bell and diaphragm with 70% alcohol solution at the start and end of each clinical shift is consistent with CDC guidelines. Some manufacturers recommend cleaning of the stethoscope tubing with this same 70% alcohol solution. One should always follow manufacturer’s recommendations for product treatment.

## 2.0 General Information

An effective infection prevention program applies a rigorous hand hygiene regimen between patients as its foundation of basic care. Stethoscope hygiene complements the hand hygiene policy by ensuring that the patient is protected from pathogens on that “third hand”. It is recommended that following the hand hygiene and gloving process, prior to each patient contact, that the aseptic stethoscope diaphragm barrier be applied.

A disposable stethoscope barrier system using a touch-free, wall mounted dispenser, near the hand sanitizer, gloves and hand washing sink, usually at the entrance to the patient room, and close to the patient contact point, facilitates optimal compliance and workflow compatibility to minimize microbial cross-transmission between patients.

2.1 Stethoscope diaphragm aseptic barriers are ideally:

- dedicated patient safety equipment6

- delivered to the stethoscope diaphragm in a touch free, aseptic manner

- a robust barrier to transmission of pathogens and contaminated patient samples including saliva, feces, urine, sputum

- medical grade, biocompatible, and latex-free

- acoustically invisible, i.e., do not degrade sound quality during patient auscultation

- applied to the diaphragm of the stethoscope before every patient examination

- single use and disposable to minimize cross-transmission7

- able to cover the entire surface and rim of the diaphragm

## 3.0 Policy & Procedure

3.1 Audience and Scope: [Institution] requires adherence to the stethoscope hygiene policy and procedure by all personnel engaged in auscultation in any [institution] facility:

- [List specific personnel if needed]

3.2 Purpose: To prevent the transmission of microorganisms from healthcare provider (*hands and) stethoscope to patients. Effective stethoscope (*and hand) hygiene reduces the risk of infection via transmission of microorganisms between healthcare workers and patients/residents.

3.3 Policy: All members of the healthcare team at {Institution} will comply with these guidelines for stethoscope (*and hand) hygiene.

- Stethoscope cleaning shall be practiced before and after each shift. All Healthcare providers and staff are required to clean their stethoscopes before initiating patient care and prior to completing their shift.

- Stethoscope diaphragm hygiene shall be practiced before and after each patient contact using the aseptic diaphragm barrier modality.

3.4 Procedure for Cleaning Stethoscope at Start and End of Shift

- Use a 70% alcohol wipe to thoroughly clean both the chest piece and headpiece.

  - Pay special attention to the earpieces and diaphragm, as these areas can harbor bacteria.

  - The tubing of the stethoscope can be cleaned using a 70% isopropyl alcohol  wipe.

- Ensure the entire stethoscope is dry after disinfecting it.

- Always follow manufacturers’ recommendations for cleaning.

3.5 Procedure for Stethoscope Diaphragm Hygiene Before and After Each Patient Contact:

- Apply the Diaphragm Barrier when it is anticipated that use of the Stethoscope will occur to auscultate the patient, ideally upon entering patient room and after handwashing (and gloving if applicable)*.

  - Apply the aseptic barrier after handwashing and gloving*, prior to auscultating patient using an aseptic non-touch technique.

  - Apply the single-use aseptic barrier to the stethoscope diaphragm, ensuring a clean contact with the patient.

- Following auscultation of the patient, remove the diaphragm barrier, prior to removing gloves and handwashing, and before exiting the patient area.

  - The single-use aseptic barrier must be removed from the diaphragm and disposed of as with other PPE.

- When auscultating a contaminated area of the body, prior to moving to a clean body site for auscultation, a change of barriers is recommended, just as is the practice for changing gloves.

- The single-use aseptic barrier should be used only for a single patient examination.

## Application & Removal of Aseptic Barrier

- Approach the touch-free dispenser located on the wall of the patient room. Follow the four application and removal steps below:

  - ACTIVATE:  Grasp the back of the stethoscope chest piece and hold flat & directly under the activation sensor to dispense an aseptic disk cover barrier (Figure 1).

  - APPLY: Press the stethoscope diaphragm into the application window to apply an aseptic disk cover. (Figure 2).

  - AUSCULTATE: Examine patient with clean disk cover applied to stethoscope diaphragm. (Figure 3).

  - REMOVE: Remove the disk cover by pulling the adhesive-free peel tab at the base of the barrier after exam (Figure 4) and dispose of the barrier appropriately.

## 5.0 Physician's Orders

A physician’s order is not required to use touch-free dispensers.

## 6.0 Regulatory Documentation

Stethoscope hygiene will be integrated into hand hygiene compliance programs to include periodic surveys and direct observational assessments by the quality control team.

## 7.0 General Provisions

7.1 Needed Equipment

- Touch-free Aseptic Barrier Dispenser

- Clean Cassette

7.2 Maintenance of Dispensers

Routine monitoring to ensure touch-free dispensers are properly maintained (batteries, aseptic barrier inventory, etc.) and are functioning properly, should occur at a frequency appropriate with use in the patient care area. Appropriate supplies should be conveniently located throughout the healthcare center, wherever patient care is being delivered.

Responsibility for ensuring dispensers are refilled and can continuously provide barriers whenever needed is assigned to the [choose appropriate] team. (Often this responsibility goes to Environmental Services, Materials Management, or Clinical Quality Control Teams.) Replacement cartridges shall be immediately available on the patient care unit should it become necessary for staff to change/refill the dispensers.

7.3 Location of Dispensers

To achieve workflow compatibility, and optimal compliance by clinicians with stethoscope hygiene, aseptic barriers for stethoscope diaphragms will be easily accessible via the touch-free dispensers located in every patient’s room, near the hand hygiene station or the patient’s bed.

7.4 Important Compliance Requirements

Touch-free dispensers should NOT be placed:

- In environments with explosive gasses, such as in operating rooms.

- In hallways, to comply with Centers for Medicare & Medicaid Services (CMS) and Americans with Disabilities Act (ADA) regulations, which limit the protrusion of wall-mounted objects into corridors to no more than 4 inches from the wall.8

## 8.0 Concluding Commentary

Cleaning by the new standards is important, but cleaning “between-every-patient” is inefficient and incongruent with patient care workflow. The use of a touch-free, single use, aseptic barrier for surface hygiene of stethoscope diaphragms is a more efficient infection prevention approach and will improve patient safety via improved compliance. The use of a practitioner’s personal stethoscope with a disposable, aseptic diaphragm barrier between patient contacts is an improvement in patient safety over isopropyl alcohol cleaning methods between patients.

Stethoscope barriers, just as medical glove use, are an evidence-based measure to prevent microbial transmission to/from patients. The recommendations for Stethoscope barriers, just as handwashing and glove use, must be implemented regardless of the type of setting and the resources available.

Knowledge dissemination and practical training on appropriate use of aseptic barriers are the foremost interventions leading to best practices and resource saving. Deficient aseptic barrier procurement in terms of quantity and quality may cause inappropriate and unsafe practices such as aseptic barrier misuse or reuse. No evidence-based recommendations for aseptic barrier reuse or reprocessing exist. Stethoscope diaphragm aseptic barriers are meant to be disposable, for single use. They are intended to complement hand hygiene and are effective when they are used according to manufacturer’s directions. Hand hygiene, gloving and Stethoscope hygiene remain the basic and most effective measures to prevent pathogen transmission and infection.

## 9.0 Current Guidelines and Recommendations

2024 Guideline to Prevent Transmission of Pathogens in Healthcare Settings7

2020 AORN Guideline for Surgical Attire1

## 10.0 References

- Guideline for surgical attire. In: Guidelines for Perioperative Practice. Denver, CO: AORN, Inc; 2022: 1089-1106.

- Y. Longtin et al., Contamination of stethoscopes and physicians' hands after a physical examination. Mayo Clinic Proceedings. 89, 291–299 (2014), doi:10.1016/j.mayocp.2013.11.016. PMID: 24582188

- R. Vasudevan et al., Aseptic barriers allow a clean contact for contaminated stethoscope diaphragms. Mayo Clinic Proceedings: Innovations, Quality & Outcomes. 4, 21–30 (2020), doi:10.1016/j.mayocpiqo.2019.10.010. PMID: 32055768 PMCID: PMC7010972

- W. F. Peacock, S. Kalra, R. S. Vasudevan, F. Torriani, Aseptic stethoscope barriers prevent C difficile transmission in vitro. Mayo Clinic Proceedings: Innovations, Quality & Outcomes. 5, 103–108 (2021), doi:10.1016/j.mayocpiqo.2020.10.002. PMID: 33718789 PMCID: PMC7930788

- I. H. Jenkins, B. Monash, J. Wu, A. Amin, The third hand: Low rates of stethoscope hygiene on General Medical Services. Journal of Hospital Medicine. 10, 457–458 (2015), doi:10.1002/jhm.2359. PMID: 25832965

- S. Kalra, R. F. Garri, J. B. Shewale, Aseptic Disposable Stethoscope Barrier: Acoustically Invisible and Superior to Disposable Stethoscopes Mayo Clinic Proceedings. 96, 263–264 (2021), doi:10.1016/j.mayocp.2020.10.029. PMID: 33413829

- Centers for Disease Control and Prevention, 2024 Guideline to Prevent Transmission of Pathogens in Healthcare Settings. www.cdc.gov/hicpac/media/pdfs/DRAFT-2024-Guideline-to-Prevent-Transmission-of-Pathogens-2023-10-23-508.pdf.

- The Federal Register. Medicare and Medicaid Programs; Fire Safety Requirements for Certain Health Care Facilities (available at https://www.federalregister.gov/documents/2016/05/04/2016-10043/medicare-and-medicaid-programs-fire-safety-requirements-for-certain-health-care-facilities).